Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[December] [2024]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [December] [2024] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 10/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 36.8 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 10/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.53 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 10/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 53.82 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 10/12/24 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 10/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 8.54 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 13/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.003 0.033 0.001 0.0003 2780 0.009 0.01 11000 0.054 3.78 0.067 0.38 0.0001 0.02 7.54 1980 0.01 0.175 31.64 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 13/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.004 0.137 0.001 0.0001 3530 0.004 0.022 14700 0.072 1.19 0.011 1.78 0.0001 0.024 7.88 2620 0.01 0.088 34.45 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 10/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 13.58 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 10/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 9.89 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 17/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.015 0.058 0.001 0.001 3640 0.004 0.012 14200 0.262 2.67 0.008 0.291 0.0009 0.017 7.6 2530 0.01 0.256 32.34 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 10/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 41.8 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 17/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 42.8 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 13/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 35.76 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 13/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 11.82 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: 17/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 84.63 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 10/12/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 61.53 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: 13/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.092 0.001 0.0006 217 0.005 0.011 1050 0.084 1.09 0.001 0.112 0.0001 0.01 7.84 56 0.01 0.092 43.11 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 13/12/24 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 13/12/24 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

# [December] [2024] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 17/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.031 0.01 0.001 8700 0.011 0.01 32300 0.126 0.48 0.01 0.094 0.0001 0.129 7.93 4000 0.1 0.21 4.47 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 18/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.018 0.01 0.001 6960 0.01 0.01 33000 0.014 1.12 0.01 0.218 0.0001 0.04 7.52 11000 0.1 0.052 12.48 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 11/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.16 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 9/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.024 0.01 0.0013 10500 0.011 0.01 35600 0.068 1.18 0.019 0.15 0.0001 0.012 7.45 3110 0.1 0.182 36 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 7 - GIP274 | Monthly |  | Sampled: 1/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.01 0.01 0.001 9770 0.01 0.01 33600 0.01 0.66 0.01 0.01 0.0001 0.01 7.69 2980 0.1 0.052 19.51 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 5/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.85 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 11/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.85 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: 4/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.85 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 17/12/24 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.31 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 9/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.028 0.001 0.0004 4450 0.001 0.004 15300 0.061 0.24 0.002 0.12 0.0006 0.009 7.78 1280 0.01 0.201 22.47 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 12 - GIP290 | Monthly |  | Sampled: 17/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002 0.018 0.001 0.132 3480 0.001 1.77 18700 0.534 0.4 0.008 36.3 0.0008 0.304 6.77 6800 0.01 4.56 15.44 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - GIP291 | Monthly |  | Sampled: 10/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.033 0.001 0.0018 8000 0.006 0.023 27600 0.197 0.7 0.004 0.206 0.0001 0.02 7.62 2870 0.01 0.248 10.64 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - GIP292A | Monthly |  | Sampled: 23/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.08 0.01 0.242 5.05 1310 1.12 76.6 34100 453 952 0.01 474 0.0001 23.3 3.42 53200 0.76 394 8.58 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - GIP292AS | Monthly |  | Sampled: 23/12/24 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - GIP293 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.021 0.01 0.021 2.64 3980 0.026 35.6 41800 62.7 0.6 0.01 485 0.0005 13.7 3.84 31000 0.1 12.9 15.48 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.012 0.01 0.452 1270 0.01 5.93 29700 15.5 0.17 0.01 38.8 0.0001 2.18 6.83 16900 0.1 29.2 14.2 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 9/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.045 0.001 0.0001 9490 0.001 0.003 31800 0.024 0.15 0.001 0.311 0.0001 0.007 7.8 2630 0.01 0.089 18.31 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.012 0.001 0.0007 532 0.001 0.011 10600 0.063 0.27 0.001 0.097 0.0001 0.032 7.81 4540 0.01 0.176 8.47 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 21 - GIP297 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.005 0.004 0.001 0.0006 370 0.001 0.004 2170 0.045 0.27 0.001 0.042 0.0001 0.017 7.77 332 0.01 0.254 27.87 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - GIP298 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.01 0.01 0.001 9340 0.01 0.01 30800 0.029 0.16 0.01 0.042 0.0001 0.014 7.64 3580 0.1 0.151 23.33 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - GIP299 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.01 0.01 0.0073 6580 0.01 0.086 35400 0.125 0.25 0.01 1.31 0.0002 0.039 7.55 14100 0.1 0.369 33.63 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - GIP300 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.45 0.12 0.392 8170 0.01 0.055 42900 3.26 7.83 0.031 108 0.0003 3.02 5.34 18400 0.10 30.0 21.99 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - GIP301 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.005 0.033 0.001 0.0006 2100 0.016 0.049 8910 0.343 6.47 0.035 0.983 0.0001 0.026 7.16 1280 0.01 0.112 15.4 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - GIP302 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.01 0.01 0.0172 8250 0.083 0.119 31000 0.194 0.41 0.01 3.64 0.0001 0.254 7.57 4700 0.1 0.673 17.98 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 5/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.031 0.035 0.078 4.71 2880 0.015 78.8 43600 260 1.6 0.158 814 0.0028 25.8 3.48 45000 0.1 341 11.30 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 18/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.051 0.001 0.0003 6180 0.002 0.003 20100 0.003 0.31 0.001 0.063 0.0001 0.019 7.72 1270 0.01 0.05 45.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 18/12/24 Obtained: 2/1/25 Published: 28/01/2025 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002 0.077 0.001 0.0005 7280 0.008 0.003 22500 0.009 5.51 0.002 0.056 0.0002 0.024 7.39 1490 0.01 0.055 40.09 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 18/12/24 Obtained: 2/1/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.021 0.005 0.001 0.0001 6470 0.017 0.006 22100 0.018 3.59 0.001 0.068 0.0001 0.026 7.79 1380 0.04 0.02 38.58 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

Milligrams per litre

Microsiemens per centimetre

Metres